# STATE OF MAINE

# DEPARTMENT OF ENVIRONMENTAL PROTECTION

# Site Location of Development

# 38 M.R.S. §§ 481-490-E

# PERMIT APPLICATION INSTRUCTIONS

## Section 20

## Blasting

If the development requires blasting of rock or other earth materials for road construction, foundations or any other purpose provide the following information.

- Site plan. A site plan indicating proposed blast areas at the project site and locations of all off- site structures and wells not owned or controlled by the applicant within 2000 feet of any blast site unless a lesser distance is approved in writing by the department.

- Report. A report prepared by a qualified professional that includes the following.

- Assessment. Assessment of the potential for adverse effects of blasting on protected natural resources and structures and wells not owned or controlled by the applicant considering, at a minimum, ground vibration, peak particle velocities, noise and airblast effects and on-site and off- site ground and surface water quality and quantity.

- Blasting plan. Provide a blasting plan which addresses methods to control adverse effects from ground vibration, airblast and flyrock; provides details on the proposed blast design, monitoring of blasts (as applicable), a blast schedule; and includes provisions for pre-blast surveys, signage, warnings, and access control during blast events in conformance with Title 38 M.R.S. § 490-Z (14).

Reference: U.S. Department of Interior Rules 30 CFR § 816.61-68 and 817.610-68, and Blasting Guidance Manual, Office of Surface Mining, Reclamation and Enforcement, U.S. Department of Interior.