Individual Facility Installation Form

Supplement to Variance AND Reciprocity Application Form

(32 MRSA Sec. 10010 3-A.D: 06-481 CMR c. 3 Sec. 4.0, 8.0)

Name of Applicant:

Name of Facility:

Dates Installed:

Location of Facility (Street Adress, Province or State):

Supervisor (Name, Phone, Email):

Facility Owner (Name, Phone, Email):

Responsible Government Official (Name, Phone, Email):

#### Installations

Installations you wish the Board to consider for your apprenticeship variance (provide specific information on each installation on the individual facility installation forms provided.

| ##### Tank Number | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- |
| Tank Type1 |  |  |  |  |
| Piping Type2 |  |  |  |  |
| Tank Size3 |  |  |  |  |
| Leak Deteciton4 |  |  |  |  |
| Product5 |  |  |  |  |
| Pump System6 |  |  |  |  |
| Overfill7 |  |  |  |  |

1) C: Cathodically Protected Steel – Single Wall. W: Cathodically Protected Steel - Double Wall. E: Fiberglass - Single Wall. G: Fiberglass – Double Wall. J: Jacketed. S: Fiberglass coated steel. N: Other, please specify.

2) E: Single walled fiberglass. G: Double walled fiberglass. C: Cathodically protected steel. O: Copper with secondary containment. F: Flexible e with secondary containment.

3) Fill with size of tank in US gallons.

4) 1: Continuous electronic monitoring of ground water. 2: Continuous electronic monitoring of vapor. 3: Secondary containment with interstitial monitoring. 4: Manual ground water sampling. 5: Continuous in-tank gauging. 6: In-line leak detector.

5) 1: Kerosine. 2: #2 Fuel Oil. 4: #4 Fuel Oil. 5: #5 Fuel Oil. 6: #6 Fuel Oil. 20: Unleaded Plus. 22: Premium. 23: Unleaded. 28: Premium Unleaded. 29: Diesel. 81: Waste Oil. 99: Other, please specify.

6) 1: Suction. 2: Pressurized.

7) 1: Automatic shutoff. 2: Automatic alarm. 3: Overfill spill container.

Please mark each column which best describes your role in each of the following tasks of installation.

| Task | Primary | Assist |
| --- | --- | --- |
| Planning |  |  |
| Excavation/Tanks |  |  |
| Bedding/Tanks |  |  |
| Anchoring/Tanks |  |  |
| Tank Testing |  |  |
| Tank Placement |  |  |
| Tank Backfill |  |  |
| Tank Opening Treatment |  |  |
| Cathodic Protection/Tanks |  |  |
| Excavation/Piping |  |  |
| Piping Assembly |  |  |
| Piping Connections |  |  |
| Cathodic Protection/Piping |  |  |
| Leak Detection |  |  |
| Backfill to Subgrade |  |  |
| Final Covering |  |  |

I hereby certify that this reference contains no willful misrepresentation or falsification and that the information given by me is true and complete to the best of my knowledge and belief. I understand that my answers may be verified and that I may be declared ineligible for a license if the information contained herein, upon investigation, is found to be misrepresented or falsified.

___________________________________________________

Signature of Applicant

___________________________________________________

Date

Revised: 03/03/2026